**Removal of the existing chain link fence and installation of new fence at Louisiana State Police Troop D**

**Location:**

Louisiana State Police Troop

805 Main Street

Lake Charles, LA 70615

**Scope of Work:**

To supply all equipment, materials, and labor to remove approximately 250 feet of existing four (4’) foot chain-link fence and replace with 250 feet of new six (6’) foot chain-link fence per below requirements. Awarded vendor will connect the new fence to the existing six (6’) foot chain-link fence in front lot.

**Requirements:**

* Supply and install approximately 250’ x 6’ tall commercial grade fence
* Supply one (1) 6’ x 6’ single swing gate
* All posts set in individual concrete footings
* 9 Gauge mesh galvanized
* 3” OD Sch40 galvanized corner/end/gate post
* 2.5” OD Sch40 galvanized line post set at 10’ centers
* 1-5/8” OD Sch40 galvanized top rail
* 1-5/8” OD Sch40 galvanized welded gate frame
* 9 gauge galvanized tension wire
* All waste/debris will be removed from the site and disposed of properly at the completion of the job
* All work should be Monday thru Friday between 7am and 5pm unless prior approval from Sgt. Haugen