4/9/2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000022692 for the Invitation to Bid for the State of Louisiana – Rappelling Tower Repairs - DMA, which is currently scheduled to open at 10:00 AM CT on 4/16/2024.  
  
The following are vendor submitted questions submitted before the deadline of 4/2/2024 and the State’s responses:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Vendor’s Question 1:**

What is the expectation for surface preparation of the steel structure to be painted? Is the application of rust remover and rust inhibitor sufficient, or is grinding/blasting/sanding required to improve finished surface profile?

**State’s Response 1:**

No additional grinding/blasting/sanding is necessary unless unforeseen damage is found during remediation. Applying convertor and inhibitors specified in Attachment C along with primer shall be sufficient.

**Vendor’s Question 2:**

Are there any minimum thickness requirements outside of manufactures specifications for the selected coating system?

**State’s Response 2:**

No. Individual manufacture’s specifications shall dictate thickness.

**Vendor’s Question 3:**

Please provide regulation or detailed dimensions for safety landing pad. Assumption is that Army Regulation requires a specified dimension from the base of the tower, as well as landing area in all directions as well as required thickness of pad material in the safety zone. Please confirm or deny the addition of safety zone/fall area around the training slope on the Northeast side of the tower.

**State’s Response 3:**

Please see Attachment F – Border Dimensions. According to the Scope of Work:  “new containment borders at 12” high by 4” wide” “99.9% wire free shredded rubber safety bed to a depth of 10 inches”. Also noted, dimensions may change due to availability of border materials. Border materials specified are available in 4’4” sections. The addition of a safety zone/fall area around the training slope on the Northeast side of the tower is not in this Scope of Work.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Attachment F – Border Dimensions, has been added to the RFx.**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail, by hand delivery or by courier to: Office of State Procurement, 1201 N. 3rd Street, Claiborne Building -Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail, by hand delivery or by courier to: Office of State Procurement, 1201 N. 3rd Street, Claiborne Building -Ste. 2-160, Baton Rouge, LA 70802, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Adam Cox  
 Office of State Procurement  
 Telephone No. 225-219-4207  
 Email: adam.cox@la.gov