**Attachment B - Specifications**

**RFx #3000023173**

**High Pressure Analytical and Field Gases**

**Louisiana Department of Environmental Quality (LDEQ)**

All gases must meet the requirements of purity listed on Attachment C- Price Sheet. LDEQ personnel will determine if the gas meets these standards.

Vendor will be responsible for cluster change out, including connecting and disconnecting to high-pressure manifold systems.

Vendor shall make delivery within five days after receipt of order (ARO).

Each gas cluster shall require a Certificate of Analysis.

Due to limited space, all clusters and individual tanks shall be delivered and picked up by a vehicle no larger than a tandem-axel truck (No Semi-Tractor Trailers will be allowed).

Deliveries to be made to the following address:

LDEQ Air Field Services/ Air Lab

5825 Florida Blvd.

Baton Rouge, LA 70806